Mechanical Tests Laboratory

- Vickers Hardness Tester (Avery)

- Tensile – Compression -  Bending Test Device (MFL 200 kN)

- Izod Impact Testing Device (Avery)

- Brinell Hardness Tester (Avery)

- Rockwell (A, B, C) Hardness Tester (Page Wilson)

- Rotating Bending Test Device

- Charpy Impact Testing Device (Instron – Wolpert PW 30 ( 150 J))

- Creep Testing Machine (MTS)

- Torsion Testing Machine (Instron - Wolpert)

- Universal Tensile – Compression -  Bending Test Device (Instron 8503 (20kN))

- Universal Tensile – Compression -  Bending Test Device (Instron 8503 (500kN))

- Vickers, Rockwell, Brinell Hardness Tester (Instron – Wolpert Dia-testor7551)

- Portable Hardness Tester (Instron – Wolpert (Hv 1kg))

- Mechanical Alloying Mill (Szegvari Type)

Metallography Laboratory

- Automatic Polishing Device (Metkon Gripo 300-1V)

- Automatic Fluid Dispenser (Metkon Dispomat)

- Polishing Device (Struers Metapolan)

- Vibratory Polisher (Metapolan)

- Double Wheel Grinding and Polishing Machine (Metasinex)

- Ultrasonic Cleaning Device (Struers Metason-60)

- Abrasive Cutting Device (Metkon Servocut)

- Hot Mounting Device (Metkon DigiPress)

- Hot Mounting Device (Struers Press to Press)

- Specimen Dryer (Sinbo)

- Specimen Storage Cabinet

- Consumables Storage Cabinet

Optical Microscopy Laboratory

- Optical Microscope  (Prior x50-x1000) – 15 pcs.

- Optical Microscope (Olympus x50-x1000) – 4. pcs.

- Inverted Microscope (Olympus x50-x1000)

- Optical Microscope Prior (x50-x1000, integrated with Panasonic digital camera)

- Optical Microscope Leica DM4000M (x25-x1000, integrated with Leica DFC320 digital camera)

Heat Treatment Laboratory

- Muffle Furnace (max. 1150 C, Hereaus)

- Vertical Tube Furnace (max. 1400 C, SFL SC 1206)

- Horizontal Tube Furnace (max 1400 C, SFL SC 1206)

- Box-type Heat Treatment Furnace (max. 1400C, SFL MFC 1197)

- Time-Temperature Datalogger (ABB Instrument)

- Digital Temperature Gauge – 3 pcs.

- Oil Bath (max. 500C, Alser Protherm)

- Salt Bath (max. 500C, Alser Protherm)

Scanning Electron Microscope (SEM) Laboratory

- Scanning Electron Microscope (JEOL JSM 6060 LV)

- EDS-Energy Dispersive X-Ray Spectrometer (IXRF Instruments)

- Specimen gold coating unit.

- Specimen carbon coating unit.

3D Modeling Laboratory – Optical Emission Spectrometry

- Spectral analyzer (Bruker)

- 3D Printer (Makerbot)

- Elemental Analysis Device (Leco)

Welding Workshop

- Guillotine Shears

- Press Brake

- Spot Welding Machine

- Pillar Drill

- Jig Saw

- Punch Press

- Combined Shears

- Gas Metal Arc Welding Machine – 6 pcs.

- Electric Arc Welding Machine – 4 pcs.

- Grinding Machine – 2 pcs.

Basic Metal Processing Workshop

- Bench Drill

- Jig Saw

- Hydraulic Saw

- Bandsaw

- Pillar Drill – 2pcs.

- Metal Clamping Machine with Arm

- Plate Bending Machine

Powder Metallurgy Laboratory

- Hydraulic Press

- Turbula Powder Mixer – 2 pcs.

- Microwave Oven

- Abrasive Analysis Device

- Horizontal Tube Furnace – 3 pcs.

Metal Casting Laboratory

- Sand mixing device – 2 pcs.

- Electrical Metal Melting Furnace – 2 pcs.

- Injection Moulding Furnace – 2 pcs.

- Portable Furnace

- Bandsaw

- Small Size Turning Lathe

- Bench Drill

- Pillar Drill

- Die Casting Machine

- Vacuum Density Tester

Metallurgy Laboratory

- Sand Grain Size Analyzer

- Wet-dry Strength Analyzer

- Vacuum Casting Machine

- Bench Top Sand Mixing Device

- Wax Injector

- Drying Oven – 2 pcs.

- Fume Hood

- Gas permeability Analyzer

X-Ray Diffraction Laboratory

- X-Ray Diffraction Device (XRD)

- Thermogravimetric Analyzer (TGA)

- Differential Scanning Calorimeter (DTA)

- Ultraviolet-Visible Spectrophotometer (UV-VIS)